## Calculator
Water Heater Sizing Calculator
Example 3 Bedroom House | [8 empty] | Instructions:
Cold Water Temperature: |  |  |  |  | 55 |  |  |  | 1. Enter Average Groundwater temperature from map on tab 2
Fixtures and Appliances: | [5 empty] | Max Flow Rate | Simultaneous | GPM
Showers: |  |  |  |  | 3 | 2.25 | 2 | 4.5 | 2. Use the calculator for each hot water zone individually. Enter the number of fixtures/appliances in each zone
Bath Faucets: |  |  |  |  | 3 | 0.5 | 3 | 1.5 | (For most homes we recommend a single zone. For larger homes, we recommend grouping
Kitchen Faucet: |  |  |  |  | 1 | 1 | 1 | 1 | nearby fixtures and appliances to shorten distances and reduce wait for hot water or alternatively
Dishwasher: |  |  |  |  | 1 | 2 | 1 | 2 | use a demand recirculation loop)
Washer |  |  |  |  | 1 | 2 | 1 | 2
Bathtub: |  |  |  |  | 3 | 3 | 1 | 3
Roman Tub |  |  |  |  | 0 | 4 | 0 | 0 | (Note: Assumes 1/2 restriction on Roman Tub Fill)
Multihead Body Spa Shower | GPM: | 0 |  |  | 0 | 0 | 0 | 0
Peak GPM (99%): |  |  |  |  | 4.5 |  |  |  | (Note: Estimates Peak GPM for 99% of all hot water draws. 1% will exceed this flow rate)
Primary Calculation:
Heater KW Requirement: |  |  | 28 | - | 32 |  |  |  | 3. Method 1: Calculated Recommendation
(Method 1:)
Alternate Method for Verification:
Heater KW Requirement: |  |  | 27 | - | 32 |  |  |  | 4. Method 2: 2.5-3.0 GPM of 130°F Water for Whole House
(2.5-3.0 GPM@130°F)
(Method 2:)
This interactive online calculator is designed to assist trade professionals in creating a sizing estimate for SEISCO tankless water heaters. The calculations herein are based on industry flow rate standards and normal environmental usage factors. The data generated by the calculator is for illustrative use only. All sizing should be reviewed by a trained professional and all applicable code and licensing requirements must be considered. In using this calculator, the user agrees to take full responsibility for the output created and to independently verify its results for a particular application. Please contact SEISCO customer service with any questions regarding proper sizing for an application.

## Groundwater Map
Groundwater Temperature
35 | 37 | 42 | 47 | 52 | 57 | 62 | 67 | 72 | 77

## Climate Chart
[9 empty] | Northern Climate |  |  |  | HUD
Midwestern Climate
Southern Climate
Ground Water Temperature: |  |  | 80 | 75 | 70 | 65 | 60 | 55 | 50 | 48 | 45 | 40
Temperature Rise to 115°F: |  |  | 35 | 40 | 45 | 50 | 55 | 60 | 65 | 67 | 70 | 75 | 77
Model | BTU | KW | GPM | GPM | GPM | GPM | GPM | GPM | GPM | GPM | GPM | GPM | GPM
RA14 | 47782 | 14 | 2.7315 | 2.3901 | 2.1245 | 1.912 | 1.7382 | 1.5934 | 1.4708 | 1.4269 | 1.3657 | 1.2747 | 1.2416
RA16 | 54608 | 16 | 3.1217 | 2.7315 | 2.428 | 2.1852 | 1.9865 | 1.821 | 1.6809 | 1.6307 | 1.5609 | 1.4568 | 1.419
RA18 | 61434 | 18 | 3.5119 | 3.0729 | 2.7315 | 2.4583 | 2.2349 | 2.0486 | 1.891 | 1.8346 | 1.756 | 1.6389 | 1.5963
RA22 | 75086 | 22 | 4.2923 | 3.7558 | 3.3385 | 3.0046 | 2.7315 | 2.5039 | 2.3113 | 2.2423 | 2.1462 | 2.0031 | 1.9511
RA28 | 95564 | 28 | 5.463 | 4.7801 | 4.249 | 3.8241 | 3.4764 | 3.1867 | 2.9416 | 2.8538 | 2.7315 | 2.5494 | 2.4832
RA32 | 109216 | 32 | 6.2434 | 5.463 | 4.856 | 4.3704 | 3.9731 | 3.642 | 3.3618 | 3.2615 | 3.1217 | 2.9136 | 2.8379
2XRA22 | 150172 | 44 | 8.5847 | 7.5116 | 6.677 | 6.0093 | 5.463 | 5.0077 | 4.6225 | 4.4845 | 4.2923 | 4.0062 | 3.9021
2XRA28 | 191128 | 56 | 10.926 | 9.5602 | 8.498 | 7.6482 | 6.9529 | 6.3735 | 5.8832 | 5.7076 | 5.463 | 5.0988 | 4.9664
2XRA32 | 218432 | 64 | 12.4868 | 10.926 | 9.712 | 8.7408 | 7.9462 | 7.284 | 6.7237 | 6.523 | 6.2434 | 5.8272 | 5.6758
Extender Options:
SC70+Tank¹ | 39249.5 | 11.5 | 2.2437 | 1.9633 | 1.7451 | 1.5706 | 1.4278 | 1.3088 | 1.2082 | 1.1721 | 1.1219 | 1.0471
SC90+Tank¹ | 46075.5 | 13.5 | 2.6339 | 2.3047 | 2.0486 | 1.8438 | 1.6761 | 1.5365 | 1.4183 | 1.3759 | 1.317 | 1.2292
RA22+Tank¹ | 90444.5 | 26.5 | 5.1703 | 4.524 | 4.0214 | 3.6192 | 3.2902 | 3.016 | 2.784 | 2.7009 | 2.5852 | 2.4128
RA28+Tank¹ | 110922.5 | 32.5 | 6.341 | 5.5483 | 4.9319 | 4.4387 | 4.0352 | 3.6989 | 3.4144 | 3.3124 | 3.1705 | 2.9591
RA32+Tank¹ | 124574.5 | 36.5 | 7.1214 | 6.2312 | 5.5389 | 4.985 | 4.5318 | 4.1541 | 3.8346 | 3.7201 | 3.5607 | 3.3233
¹ GPM Rate unlimited, listed rate is after electric tank water heater is completely exhausted

## Calculate by Spec
Water Heater Sizing Calculator
Instructions:
Temperature Rise: | 90 |  |  |  | Enter desired temperature rise
Fixtures and Appliances: |  | Max Flow Rate | Simultaneous | GPM
Peak GPM (99%): | 1 |  |  |  | Enter peak flow rate
Heater KW Requirement: | 13 |  |  |  | Calcuated KW Requirement
This interactive online calculator is designed to assist trade professionals in creating a sizing estimate for SEISCO tankless water heaters. The calculations herein are based on industry flow rate standards and normal environmental usage factors. The data generated by the calculator is for illustrative use only. All sizing should be reviewed by a trained professional and all applicable code and licensing requirements must be considered. In using this calculator, the user agrees to take full responsibility for the output created and to independently verify its results for a particular application. Please contact SEISCO customer service with any questions regarding proper sizing for an application.